Device name

Bone Filling Container

Contraindication

(1) osteomyelitis, epidural cyst;
(2)vertebral compression, more than 70%
(3)vertebra spinal cord severely depressed or secondary spinal steno-sis;
(4)Severe cardiopulmonary dysfunction, blood coagulation disorders, sepsis and other surgery is not suitable.   
 Warnings and precautions 

(1) Bone cement is generally in accordance with a bag of powder ( 10 g): 1 bottle of liquid (5ml) ratio deployment to constantly stir it evenly 30s ~ 60s after a while, and then poured into a syringe injection toothpaste-like (about  1 to 4 minutes after the deployment, see the bone cement manual).

(2)Pay attention to check the packages of the instruments before use. If the damage of packages is found, do not use.

(3) The valid period of sterilization of the product is 24 months, please use within the validity period.

(4)When the completion of the injection, immediately rotate counterclockwise the handle 1 turn to release residual pressure, preventing accidental injection of bone cement.

(5) Do not reuse, reusing may cause cross contamination.

(6)The parts of bone filling container after clinical used shall be disposed in accordance with the relevant medical waste management regulations

(7)Only the trained/experienced physicians should use this instrument.

(8)This device is  a permanent implant. The  avoidance  of the usage  of patient with highly  allergy to metal  or artificial vessel fabric should be noticed.

(9) The device can not cause death of any user or serious deterioration in health status.

(10)This instruction manual must be read carefully before use;

(11)This procedure is strict in operational technology and poses a risk of serious injury to the patient, so the

physician requiring the implant procedure using the product must be an experienced and necessary professionally trained surgeon. The surgeon should be familiar with the product implant technology and skilled in using the relevant surgical instruments.

(12)The doctor evaluates the patient before surgery, and determines whether the patient is suitable for the

product according to his health condition, mental condition, allergy to foreign bodies, etc.: if applicable, choose the applicable models and specifications according to the patient's own situation, and different models and specifications of products should be prepared before the operation.

(13)During the process of use, the doctor should wear medical gloves for operation.

