Device name

Percutaneous Discectomy Pack

Contraindication

Traumatic spinal fracture, infection, tumor, pregnancy, and severe coexisting medical disease are contraindications. 

Not appropriate for treating patients with pain originating from structures other than herniated discs. Patients with free fragments, severe bony stenosis, or severely degenerative discs should be excluded. 

Patients with severe and rapidly progressing neurological deficits should be excluded. 

The procedure should be performed under local anesthesia or conscious sedation to allow patient monitoring for signs of segmental spinal nerve irritation. General anesthesia is contraindicated. 

Warnings 

Pay attention to check the device packaging before use, if the packaging is damaged or sterilization expired, do not use.

This tool is disposable, and disposable tools can cause environmental pollution. It should be disposed of in accordance with relevant national or industry regulations to avoid environmental pollution.

This product is only for one-time use. Repeated sterilization poses a risk of equipment damage or cross infection.

Only the trained/experienced physicians should use this device.

The device can not cause death of any user or serious deterioration in health status. 

This instruction manual must be read carefully before use.

When disposing of medical waste, proper protection should be taken to avoid infection and microbial hazards, and attention should be paid to avoiding injury from sharp objects such as Puncture Needle, Trephine.

