**LCT5156WE SPECIFICATION**

**Model: LCT5156WE**

**Products Overview**



**LCT touch panel 5000 Series, a new generation of human-machine interface, low cost, aluminum alloy shell; motherboard three anti-painting treatment, adapt to harsh environments. New molding, with more practical backward outlet; redesigned appearance, more beautiful; higher resolution models available.**

**Products Appearance**







**Specification**

|  |  |  |
| --- | --- | --- |
| HardwareParameters | Display | 15.6” 16:9 TFT LCD Screen |
| LCD View Angle （T/B/L/R） | 85'/85'/85'/85' |
| Resolution | 1920×1080 |
| Color | 16-bit |
| Brightness | 250 cd/m² |
| Backlight | LED |
| LCD Life | 50000 Hours |
| Touch Screen | 4-line Industrial Resistive Touch Screen |
| CPU | 4-core 1.2G Cortex-A53 Processor |
| Memory | 8GB Flash+1GB DDR |
| RTC | Built-in |
| SD Card | Micro SD (TF) Card |
| Ethernet | 1-line 10M/100M adaptive |
| USB port | 1 USB Slave 2.0 port, 1 USB Host 2.0 port |
| ProgramDownloading | USB Slave/U-disc /Ethernet |
| Serial Ports | COM1:RS232/RS485/RS422； COM2:RS485/RS422 |
| ElectricSpecifications | Rated Power | < 18W |
| Rated Voltage | DC24V,working range DC 18V~28V |
| Power Protection | Isolated power adapter with lightning surge protection |
| Allowablepower-off time | < 5mS |
| Certification | CE: Comply with EN61000-6-2:2005, EN61000-6-4:2007 standardsRoHS: Comply with RoHSEMC: Lightning surge±1KV, group pulse±2KV Electrostatic contact 4KV, air discharge:8KV |
| Environment Specifications | WorkingTemperature | 0~50℃ |
| StorageTemperature | -20~60℃ |
| UV-Anti | It prohibits working under strong ultra-violet radiationenvironment ， such as direct sunshine. |
| Environment Humidity | 10~90%RH(non-condensing) |
| Anti-vibration | 10~25Hz (X/Y/Z direction 2G/30 minutes) |
| Cooling | Natural Cooling |
| Mechanical | Installation | Embedded Installation/VESA Installation |

|  |  |  |
| --- | --- | --- |
| Parameters | Protection | Front panel: comply to IP65 (based on embedded installation);Back cover: comply to IP20 |
| Mechanical Structure | Aluminum alloy housing |
| Cutout Size | 380mm×245mm |
| Dimension | 394mm×256mm×36mm, thickness:22mm (without expansion) |
| Weight | About 2250g |

**Wiring Definition**



|  |
| --- |
| Power Terminals (Pin1~3 from left to Right) |
|    | Pin1 | DC24V |
| Pin2 | GND |
| Pin3 | FG |
| DB9 Serial Ports (COM1/COM3) |
|  | Pin1 | Rx-(B） |
| Pin2 | RxD (COM1 RS232) |
| Pin3 | TxD (COM1 RS232) |
| Pin4 | Tx- |
| Pin5 | GND |
| Pin6 | Rx+(A) |
| Pin7 | RxD (COM3 RS232) |
| Pin8 | TxD (COM3 RS232) |
| Pin9 | Tx+ |
| COM2 |
|  | Pin1 | Rx+(A) |
| Pin2 | Rx-(B） |
| Pin3 | GND |
| Pin4 | Tx+ |
| Pin5 | Tx- |
| USB Host |  |
|  | USB Type A | Used for connecting U-DISC andscanner. |
| USB Slave |
|  | Micro USB | Used for program downloading and debugging. |
| Ethernet Port |
|  | RJ45 | Used for setting Ethernet withcontroller or connecting server. |

**Dimension LCT5156WE**



